Download Connection RS232C

In case of connecting Main Module 6P Connector and PC 9P Connector

Main Module(6P Male) PC(9P Female)

1 CD

2 RD

3 SD

4 DTR

5 SG

6 DSR

7 RTS

8 CTS

9

1

2 RD

3 SG

4

5

6 SD

2

1

4

6

3

5

1

9

1

6